## Sensors - Applications
Series 4000C03 (Series 4000 Tier II) Related Sensors
Description | Connector / Callout | Part Number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | XF33 | X00E50203659 | Coolant Level
LEVEL MONITOR | XF70 | X00E50203662 | Fuel Prefilter Water Level
LEVEL MONITOR | F46 | X00E50203667 | Fuel Leak Sensor
PRESSURE SENSOR | B5.1 | 0035352531 | Lube Oil Pressure Before Filter
PRESSURE SENSOR | B5.3 | 0035352531 | Lube Oil Pressure Before Filter
PRESSURE SENSOR | B10 | 0035352731 | Charge Air Pressure (Boost)
PRESSURE SENSOR | B16 | X00E50207199 | Coolant Pressure (HTC)
PRESSURE SENSOR | B34 | X00E50207196 | Fuel Pressure After Filter (LP)
PRESSURE SENSOR | B43 | X00E50207199 | Intercooler Coolant Pressure (LTC)
PRESSURE SENSOR | B48 | X00E50207217 | High Pressure Fuel (HP)
PRESSURE SENSOR | B50 | 0035352231 | Crankcase Pressure
SPEED SENSOR | B1 | 0005358133 | Camshaft Speed (SRS) (Drawing not available - Images only)
SPEED SENSOR | B13 | 0005357633 | Crankshaft Speed (TRS)
SPEED SENSOR | B44 | 5205304069 | Exhaust Turbocharger Speed (Drawing not available - Images only)
TEMPERATURE SENSOR | B3 | 0005356430 | Intake Air Temperature
TEMPERATURE SENSOR | B6 | 0005356430 | Coolant Temperature (HTC)
TEMPERATURE SENSOR | B7 | 0005356430 | Lube Oil Temperature
TEMPERATURE SENSOR | B9 | 0005356430 | Charge Air Temperature
TEMPERATURE SENSOR | B26 | 0005356430 | Intercooler Coolant Temperature (LTC)
TEMPERATURE SENSOR | B33 | 0005356430 | Fuel Temperature
OIL PRIMING PUMP RELAY | --- | X00036463 | Oil Priming Pump Relay
20V4000C22 Related Sensors
Description | Connector / Callout | Part Number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | XF33 | X00E50203659 | Coolant Level
PRESSURE SENSOR | B5 | 0035352531 | Lube Oil Pressure
PRESSURE SENSOR | B10 | 0035352731 | Charge Air Pressure (Boost)
PRESSURE SENSOR | B16 | X00E50207199 | Coolant Pressure (HTC)
PRESSURE SENSOR | B34 | X00E50207196 | Fuel Pressure (Low Pressure)
PRESSURE SENSOR | B43 | X00E50207199 | Intercooler Coolant Pressure (LTC)
PRESSURE SENSOR | B48 | X00E50207217 | Fuel Pressure (High Pressure)
PRESSURE SENSOR | B50 | 0035352231 | Crankcase Pressure
PRESSURE SENSOR | F25 | X00E50201396 | Differential Lube Oil Pressure Switch
SPEED SENSOR | B1 | 0005358133 | Camshaft Speed (SRS) (Drawing not available - Images only)
SPEED SENSOR | B13 | 0005357633 | Crankshaft Speed (TRS)
SPEED SENSOR | B44 | 0005358433 | Turbocharger Speed
TEMPERATURE SENSOR | B3 | 0005356430 | Intake Air Temperature
TEMPERATURE SENSOR | B6 | 0005356430 | Coolant Temperature (HTC)
TEMPERATURE SENSOR | B7 | 0005356430 | Lube Oil Temperature
TEMPERATURE SENSOR | B9 | 0005356430 | Charge Air Temperature
TEMPERATURE SENSOR | B26 | 0005356430 | Charge Air Coolant Temperature (LTC)
TEMPERATURE SENSOR | B33 | 0005356430 | Fuel Temperature
EXHAUST THERMOCOUPLE | --- | 0005359960 | Exhaust Thermocouple
PRE LUBE PUMP RELAY | --- | X00036463 | Pre Lube Pump Relay
ROCKFORD FAN SOLENOID | --- | 5285400097 | Rockford Fan Solenoid
16V4000M03 Related Sensors (Full Scope Heat Exchanged)
Description | Connector / Callout | Part Number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | F33 | X00E50203659 | Coolant Level
LEVEL MONITOR | F46 | X00E50203667 | Fuel Leak-off Sensor
PRESSURE SENSOR | B5.1 | 0035352531 | Lube Oil After Filter
PRESSURE SENSOR | B5.2 | 0035352531 | Lube Oil After Filter (EMU)
PRESSURE SENSOR | B16 | X00E50200606 | Coolant Water
PRESSURE SENSOR | B10 | X00018659 | Turbo Boost
PRESSURE SENSOR | B34.1/2 | X00E50207196 | Fuel Before/After Filter
PRESSURE SENSOR | B48 | X00E50207217 | Fuel Rail Pressure
PRESSURE SENSOR | B50 | 0035352231 | Crankcase Air Pressure
PRESSURE SENSOR | B21 | 0045358931 | Raw Water (EMU) (Drawing not available - Images only)
SPEED SENSOR | B1 | 0005357533 | Camshaft Speed (Drawing not available - Images only)
SPEED SENSOR | B13 | 0005357633 | Crankshaft Speed
SPEED SENSOR | B13.2 | 0005357633 | Crankshaft Speed (EMU)
SPEED SENSOR | B44.1/2 | 5205304069 | Turbocharger Speed (Drawing not available - Images only)
TEMPERATURE SENSOR | B4.21/22 | X00E50201372 | Exhaust Gas Temperature (A/B-Side)
TEMPERATURE SENSOR | B3 | 0005356430 | Ambient Air Intake Temperature
TEMPERATURE SENSOR | B6 | 0005356430 | Coolant Water Temperature
TEMPERATURE SENSOR | B6.2 | 0005356430 | Coolant Water Temperature (EMU)
TEMPERATURE SENSOR | B7 | 0005356430 | Lube Oil Temperature
TEMPERATURE SENSOR | B77B1-8 | 0005356430 | Spash Oil Temperature (EMU)
TEMPERATURE SENSOR | B9 | 0005356430 | Charge Air Temperature
TEMPERATURE SENSOR | B33 | 0005356430 | Fuel Rail Temperature
TEMPERATURE SENSOR | B49 | X00E50201370 | Umblassen Valve - Temperature
TEMPERATURE SENSOR | B57.1 | X00E50203786 | Main Bearing (EMU)
TEMPERATURE SENSOR | B57.2-8 | X00E50203785 | Main Bearing (EMU)
EXHAUST THERMOCOUPLE | B4A1-8, B4B1-8 | 0005359960 | Exhaust Thermocouple - Individual Cylinders (EMU) (Drawing not available - Images only)
SWITCH | S37.1/2 | 635H22706/2 | Barring Gear Sensor
ECU-7 Related Sensors
Description | Connector / Callout | Part Number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | F46 | X00E50203667 | Fuel Leak-off
LEVEL MONITOR | F33 | X00E50203659 | Engine Coolant Level (Low)
LEVEL MONITOR | F33 | X00E50203660 | Engine Coolant Level (High)
LEVEL MONITOR | F57 | 5005353999 | Intercooler Level
LEVEL MONITOR | F57 | X00E50203659 | Intercooler Coolant Level (Low)
LEVEL MONITOR | F57 | X00E50203660 | Intercooler Coolant Level (High)
LEVEL MONITOR | F70 | X00E50203659 | Water Level in Fuel Filter
PRESSURE SENSOR | B5 | 0035352531 | Lube Oil Pressure
PRESSURE SENSOR | B5.3 | 0035352531 | Lube Oil Before filter
PRESSURE SENSOR | B10 | 0035352731 | Boost Pressure
PRESSURE SENSOR | B10 | X00E50202150 | Charge-Air Pressure
PRESSURE SENSOR | B16 | X00E50207199 | Coolant Pressure
PRESSURE SENSOR | B25 | X00E50201379 | Lube Oil Differential Pressure
PRESSURE SENSOR | B48 | X00E50207217 | Rail Pressure (HP Fuel) - 2000 Bar
PRESSURE SENSOR | B43 | X00E50207199 | CAC Coolant Pressure
PRESSURE SENSOR | B50 | 0035352231 | Crankcase Pressure - 70 mBar
PRESSURE SENSOR | B34 | X00E50207196 | Fuel Pressure (LP Side) - 15 Bar
SPEED SENSOR | B1 | 0005358133 | Camshaft Speed (Drawing not available - Images only)
SPEED SENSOR | B1 | 0005357633 | Cam Speed Sensor
SPEED SENSOR | B13 | 0005357633 | Crankshaft Speed Sensor
SPEED SENSOR | B44 | 5205304069 | Turbocharger Speed (Drawing not available - Images only)
SPEED SENSOR | B44.1 | X00E50204113 | Tubo Speed A
SPEED SENSOR | B44.2 | X00E50204113 | Tubo Speed B
SPEED SENSOR | B44.3 | X00E50204113 | Tubo Speed C
SPEED SENSOR | B44.4 | X00E50204113 | Tubo Speed D
TEMPERATURE SENSOR | B3 | 0005356430 | Intake Air Temperature
TEMPERATURE SENSOR | B6 | 0005356430 | Coolant Temperature
TEMPERATURE SENSOR | B7 | 0005356430 | Lube Oil Temperature
TEMPERATURE SENSOR | B9 | 0005356430 | Charge Air Temperature
TEMPERATURE SENSOR | B26 | 0005356430 | Intercooler Temperature
TEMPERATURE SENSOR | B33 | 0005356430 | Fuel Rail Temperature (HP)
HP PUMP CONTROLLER | M8 | See Specific Engine | HP Controller
ECU-7 | --- | X00E50209366/76
SAM | --- | X00E50200176
ECU-8 Related Sensors
Description | Connector / Callout | Part Number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | F33 | X00E50205974 | Engine Coolant Level
PRESSURE SENSOR | B5 | X00E50205094 | Lube Oil Pressure
PRESSURE SENSOR | B10 | 0035352731 | Charge-Air Pressure
PRESSURE SENSOR | B16 | X00E50205094 | Coolant Pressure
PRESSURE SENSOR | B48.1 | X00E50200395 | HP Fuel Pressure A-Bank
PRESSURE SENSOR | B48.2 | X00E50200395 | HP Fuel Pressure B-Bank
SPEED SENSOR | B1 | X00E50201772 | Camshaft Speed
SPEED SENSOR | B13 | X00E50201772 | Crankshaft Speed
TEMPERATURE SENSOR | B6 | 0005356430 | Coolant Temperature
TEMPERATURE SENSOR | B9 | 0005356430 | Charge Air Temperature
ENGINE IDENTIFICATION LABEL | --- | B00E50204076 | Drawing not available - Images only
ECU-8 | --- | X00E50208975/76
Series 1600 (ECU-8 Related Sensors)
Description | Connector / Callout | Part Number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | F33 | X00E50205974 | Engine Coolant Level
PRESSURE SENSOR | B05 | X00E50205094 | Lube Oil Pressure
PRESSURE SENSOR | B10 | 0035352731 | Charge-Air Pressure
PRESSURE SENSOR | B16 | X00E50205094 | Coolant Pressure
PRESSURE SENSOR | B48 | X00E50200395 | HP Fuel Rail Sensor
PRESSURE SENSOR | B48.1 | X00E50200395 | Fuel Pressure CR A-Bank
PRESSURE SENSOR | B48.2 | X00E50200395 | Fuel Pressure CR B-Bank
SPEED SENSOR | B01 | X00E50201772 | Camshaft Position (SRS)
SPEED SENSOR | B13 | X00E50201772 | Crankshaft Speed (TRS)
TEMPERATURE SENSOR | B06 | 0005356430 | Coolant Temperature
TEMPERATURE SENSOR | B09 | 0005356430 | Charge-Air Temperature
HP PUMP CONTROLLER | M8 | X57507300021 | HP Pump Metering Unit
ENGINE IDENTIFICATION LABEL | --- | X00E50205552
ECU-8 | --- | X00E50208975/S0001
PRESSURE RELIEF VALVE | --- | X57507700008
ECU-9 Related Sensors
Description | Connector / Callout | Part number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | XF33 | X00E50205974 | Coolant Level Monitor
LEVEL MONITOR | F33 | X00E50205974 | HTC Coolant Level
LEVEL MONITOR | F57 | X00E50205974 | LTC Coolant Level
LEVEL MONITOR | F46 | X00E50203667 | Double Wall (Fuel Leak-off)
PRESSURE SENSOR | B5.1 | 0035352531 | Lube Oil Pressure (After Filter) 10 Bar
PRESSURE SENSOR | B5.3 | 0035352531 | Lube Oil Pressure (Before Filter) 10 Bar
PRESSURE SENSOR | B5.3 | X00E50207368 | Lube Oil Pressure (Before Filter)
PRESSURE SENSOR | B10.1 | X00018659 | Charge Air Pressure (A-bank)
PRESSURE SENSOR | B10.11 | X00018659 | Charge Air Pressure (B-bank)
PRESSURE SENSOR | B16 | X00E50207199 | HTC Coolant Pressure
PRESSURE SENSOR | B34.2 | X00E50207201 | LP Fuel Pressure (Before Filter - 10 Bar)
PRESSURE SENSOR | B34.2 | X00E50207368 | LP Fuel Pressure (Before Filter)
PRESSURE SENSOR | B34.1 | X00E50207201 | LP Fuel Pressure (After Filter - 10 Bar)
PRESSURE SENSOR | B34.1 | X00E50207368 | LP Fuel Pressure (After Filter)
PRESSURE SENSOR | B34.3 | X00E50207201 | LP Fuel Pressure (Before Pre-filter)
PRESSURE SENSOR | B34.3 | X00E50207368 | LP Fuel Pressure (Before Pre-filter)
PRESSURE SENSOR | B43 | X00E50207199 | LTC Coolant Pressure
PRESSURE SENSOR | B48 | X00E50207159 | HP Fuel Pressure
PRESSURE SENSOR | B48.1 | X00E50207452 | HP Fuel Sensor A-bank
PRESSURE SENSOR | B48.2 | X00E50207452 | HP Fuel Sensor B-bank
PRESSURE SENSOR | B10 | 0035352731 | Boost pressure 4.5 Bar
PRESSURE SENSOR | B10.1 | 0035352731 | Charge Air Pressure (A-Bank)
PRESSURE SENSOR | B10.11 | 0035352731 | Charge Air Pressure (B-Bank)
PRESSURE SENSOR | B48 | 0035352531 | HP Fuel Pressure
PRESSURE SENSOR | B50 | 0035352531 | Crankcase Pressure
PRESSURE SENSOR | B50 | 0035352731 | Crankcase Pressure
PRESSURE SENSOR | B50 | 0035352231 | Crankcase Pressure Sensor
PRESSURE SENSOR | B91.3 | X00E50207368 | Exhaust Pressure Sensor
SPEED SENSOR | B13 | X00E50201772 | Crankshaft Speed Sensor
SPEED SENSOR | B1 | X00E50206240 | Camshaft Speed Sensor
SPEED SENSOR | B1 | 0005357633 | Camshaft Speed Sensor
SPEED SENSOR | B13 | 0005357633 | Crankshaft Speed Sensor
SPEED SENSOR | B44.1 | X00E50204113 | Turbocharger Speed (A-Bank LP Turbo)
SPEED SENSOR | B44.1 | X00E50207928 | Turbocharger Speed (A-Bank LP Turbo)
SPEED SENSOR | B44.2 | X00E50204113 | Turbocharger Speed (B-Bank LP Turbo)
SPEED SENSOR | B44.2 | X00E50207928 | Turbocharger Speed (B-Bank LP Turbo)
ECU-9 Related Sensors (Continued)
Description | Connector / Callout | Part number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
SPEED SENSOR | B44.3 | X00E50204113 | Turbocharger Speed (HP Turbo)
SPEED SENSOR | B44.3 | X00E50207928 | Turbocharger Speed (LP Turbo)
TEMPERATURE SENSOR | B4.40 | X00E50201370 | Exhaust Temperature
TEMPERATURE SENSOR | B6 | 0005356430 | HTC Coolant Temperature PT1000
TEMPERATURE SENSOR | B7 | 0005356430 | Lube Oil Temperature PT1000
TEMPERATURE SENSOR | B9 | 0005356430 | Charge Air / Boost Temperature PT1000
TEMPERATURE SENSOR | B26 | 0005356430 | LTC Intercooler Temperature PT1000
TEMPERATURE SENSOR | B33 | 0005356430 | HP Fuel Temperature
ENGINE IDENTIFICATION LABEL | A19 | B00E50204076 | EIL (Drawing not available - Images only)
SENSOR ELECTRONIC | B88 | X00E50207963 | NOX Sensor
SENSOR | B89 | X00E50207049 | Lambda Sensor
SENSOR ELECTRONIC | B90 | X00E50207894 | Trican Sensor (Intake Air Temperature, Pressure, Humidity)
HP PUMP CONTROLLER | M8.1 | See Specific Engine | A-Bank
HP PUMP CONTROLLER | M8.2 | See Specific Engine | B-Bank
PROPORTIONAL VALVE | M52 | X57599100349 | Actuator for Turbo Bypass (S2000) (Drawing not available)
EGR DISPENSER FLAP/ACTUATOR | M55 | XZ00E50207734 | S2000
EGR SHUTOFF FLAP/ACTUATOR | M53 | XZ00E50207734 | S2000
EGR FLAP ACTUATOR | M53 | X00E50208095 | Actuator alone
|  | X54514400007 <> X54514800020 | Actuator with manifold piece
|  | X00E50208692 | Universal actuator
DONOR FLAP | M54 | X00E50208092 | Actuator alone
|  | X54514400006 <> X54514800016 | Actuator with manifold piece
|  | X00E50208692 | Universal actuator
ECU-9 | --- | X00E50210098/S0001
MDEC Related Sensors
Description | Connector / Callout | Part number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | F33 | X00E50203659 | Engine Coolant Level (Low)
LEVEL MONITOR | F57 | 5005353999 | Intercooler Level
PRESSURE SENSOR | B5 | 0035352531 | Lube Oil Pressure
PRESSURE SENSOR | B5.3 | 0035352531 | Lube Oil Pressure (Before Filter)
PRESSURE SENSOR | B10 | 0035352731 | Boost Pressure (0.5-4.5 bar abs.)
PRESSURE SENSOR | B16 | X00E50207199 | Coolant Pressure (6 bar)
PRESSURE SENSOR | B34.2 | X00E50207201 | Fuel Pressure (Before filter)
PRESSURE SENSOR | B34.1 | X00E50207196 | Fuel Pressure (LP Side) 15 Bar
PRESSURE SENSOR | B48 | X00E50207217 | Rail Pressure (HP Fuel) 2000 Bar
PRESSURE SENSOR | B50 | 0035352231 | Crankcase Pressure (70 mBar)
SPEED SENSOR | B1 | 0005358133 | Cam Sensor (Drawing not available - Images only)
SPEED SENSOR | B13 | 0005357633 | Crankshaft Speed Sensor
SPEED SENSOR | B44.1 | X00E50204113 | Tubo Speed A
SPEED SENSOR | B44.2 | X00E50204113 | Tubo Speed B
SPEED SENSOR | B44.3 | X00E50204113 | Tubo Speed C
SPEED SENSOR | B44.4 | X00E50204113 | Tubo Speed D
TEMPERATURE SENSOR | B6 | 0005356430 | Coolant Temperature
TEMPERATURE SENSOR | B7 | 0005356430 | Lube Oil Temperature
TEMPERATURE SENSOR | B9 | 0005356430 | Charge Air Temperature
TEMPERATURE SENSOR | B26 | 0005356430 | Intercooler Temperature
TEMPERATURE SENSOR | B33 | 0005356430 | Fuel Rail Temperature (HP)
HP PUMP CONTROLLER | M8 | See Specific Engine | HP Controller
DDEC Related Sensors
Description | Part number | Notes
(FOR REFERENCE ONLY - Verify All Part Numbers And Connectors / Callouts With A Valid Engine Serial Number)
LEVEL MONITOR | 23520380 | Coolant Level (Drawing not available)
PRESSURE SENSOR | X00E50207205 | LT Coolant Pressure 4bar 4000
PRESSURE SENSOR | X00E50207205 | HT Coolant Pressure 4bar 4000
PRESSURE SENSOR | 23524605 | Boost Pressure 4000
PRESSURE SENSOR | 23540784 | Crankcase Pressure
PRESSURE SENSOR | X00E50207207 | Oil Pressure 10bar 4000/16V2000
PRESSURE SENSOR | X00E50207207 | Fuel Pressure 10bar 4000/16V2000
PRESSURE SENSOR | 0025358931 | Fuel Pressure 10bar 12V2000 (Drawing not available)
PRESSURE SENSOR | 0025358931 | Oil Pressure 10bar 12V2000 (Drawing not available)
PRESSURE SENSOR | X00E50207215 | HP fuel 1600bar 4000
PRESSURE SENSOR | 0025358831 | Coolant Pressure 4bar 12V2000
PRESSURE SENSOR | 0025359031 | Boost Pressure S2000 4.5bar 2000
SPEED SENSOR | 0005352233 | SRS (Drawing not available)
SPEED SENSOR | 0005356633 | TRS (Drawing not available)
TEMPERATURE SENSOR | 0005355630 | Coolant, Oil, Boost, Fuel (Drawing not available)